## cable
Index | ID | FromBus | ToBus | CableLengthUnit | InService | InServiceState | LengthValue | OhmsPerLengthUnit | OhmsPerLengthValue | RPosValue | RZeroValue | XPosValue | XZeroValue | YPosValue | YZeroValue
1 | Cable1 | Bus_草河F27 | Bus_大刀沙水厂_中压 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.23 | 0.366 | 0.053 | 0.135 | 0 | 0
2 | Cable2 | Bus_大刀沙水厂_中压 | Bus_#1组团 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.23 | 0.366 | 0.053 | 0.135 | 0 | 0
3 | Cable3 | Bus_#1组团 | Bus_大刀沙村合作经济社_中压 | 2 | true | As-Built | 500 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
4 | Cable4 | Bus_大刀沙村合作经济社_中压 | Bus_#2组团 | 2 | true | As-Built | 2000 | 2 | 1000 | 0.23 | 0.366 | 0.053 | 0.135 | 0 | 0
5 | Cable5 | Bus_#1组团 | Bus_大刀沙村3号_交流 | 2 | true | As-Built | 3000 | 2 | 1000 | 0.23 | 0.366 | 0.053 | 0.135 | 0 | 0
6 | Cable6 | Bus_#1组团 | Bus_大刀沙村5号_交流 | 2 | true | As-Built | 1200 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
7 | Cable7 | Bus_#1组团 | Bus_大刀沙村2号_交流 | 2 | true | As-Built | 800 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
8 | Cable8 | Bus_大刀沙村合作经济社_中压 | Bus_大刀沙村合作经济社_交流 | 2 | true | As-Built | 750 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
9 | Cable9 | Bus_#2组团 | Bus_大刀沙村1号_交流 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
10 | Cable10 | Bus_#2组团 | Bus_大刀沙村4号_交流 | 2 | true | As-Built | 200 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
11 | Cable11 | Bus_大刀沙水厂_中压 | Bus_大刀沙水厂_交流 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
12 | Cable12 | Bus_石楼F12 | Bus_19队_中压 | 2 | true | As-Built | 400 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
13 | Cable13 | Bus_19队_中压 | Bus_18队_中压 | 2 | true | As-Built | 1080 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
14 | Cable14 | Bus_18队_中压 | Bus_10kV清流村路灯箱变_中压 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
15 | Cable15 | Bus_10kV清流村路灯箱变_中压 | Bus_#3组团 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
16 | Cable16 | Bus_#3组团 | Bus_#4组团 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
17 | Cable17 | Bus_#4组团 | Bus_清流16队鱼塘箱变_中压 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
18 | Cable18 | Bus_清流16队鱼塘箱变_中压 | Bus_石楼镇观龙岛路灯箱变_中压 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
19 | Cable19 | Bus_#3组团 | Bus_观龙村19队2号#1公变 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
20 | Cable20 | Bus_#3组团 | Bus_观龙村19队#1公变 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
21 | Cable21 | Bus_#4组团 | Bus_观龙大站2A公变房 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
22 | Cable22 | Bus_#4组团 | Bus_观龙大站公变房#1变压器 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
23 | Cable23 | Bus_#4组团 | Bus_观龙20队公变 | 2 | true | As-Built | 2100 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
24 | Cable24 | Bus_观龙村19队2号#1公变 | Bus_观龙村19队#1公变 | 2 | false | As-Built | 1500 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
25 | Cable25 | Bus_观龙大站2A公变房 | Bus_观龙大站公变房#1变压器 | 2 | false | As-Built | 1080 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0
26 | Cable26 | Bus_观龙大站公变房#1变压器 | Bus_观龙20队公变 | 2 | false | As-Built | 1500 | 2 | 1000 | 0.06 | 0.06 | 0.09 | 0.27 | 0 | 0

## xline
Index | ID | ExtRef | FixedLoc | OtiGUID | CloneGuid | UseElementColor | Hidden | MetafileName | Orientation | SymbolSize | SymbolType | ServiceState | InheritedState | FromBus | ToBus | ID | IID | InService | InServiceState | Length | LengthUnit | PerLength | PerLengthUnit | RPos | RZero | XPos | XZero | YPos | YZero

## bus
Index | ID | OpVMag | OpVAng | userDefinedPDGUID | InService | ServiceState | Area | AsymmRMS | BasekV | BusReferenceName | NominalkV | VMag | VMaxLimit | VMinLimit | Zone
1 | Bus_草河F27 | 100 | 4.3151e-06 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
2 | Bus_#1组团 | 99.8653 | 0.012507 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
3 | Bus_#2组团 | 99.7306 | 0.025044 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
4 | Bus_大刀沙水厂_中压 | 99.7052 | 0.015096 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
5 | Bus_大刀沙水厂_交流 | 99.5076 | 0.026168 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
6 | Bus_大刀沙村3号_交流 | 99.4078 | 0.045746 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
7 | Bus_大刀沙村5号_交流 | 99.3959 | 0.042622 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
8 | Bus_大刀沙村2号_交流 | 99.3959 | 0.042622 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
9 | Bus_大刀沙村合作经济社_中压 | 99.4923 | 0.017214 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
10 | Bus_大刀沙村合作经济社_交流 | 99.473 | 0.005531 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
11 | Bus_大刀沙村1号_交流 | 99.4691 | 0.0031939 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
12 | Bus_大刀沙村4号_交流 | 99.4646 | 0.0020239 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
13 | Bus_石楼F12 | 99.4639 | 0.0018159 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
14 | Bus_#3组团 | 99.4628 | 0.0015351 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
15 | Bus_#4组团 | 99.4676 | -0.0038131 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
16 | Bus_19队_中压 | 99.4656 | -0.012922 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
17 | Bus_18队_中压 | 99.465 | -0.020345 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
18 | Bus_10kV清流村路灯箱变_中压 | 99.4657 | -0.030724 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
19 | Bus_观龙村19队2号#1公变 | 99.4176 | -0.043314 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
20 | Bus_观龙村19队#1公变 | 99.4176 | -0.043314 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
21 | Bus_观龙大站2A公变房 | 99.5109 | -0.025515 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
22 | Bus_观龙大站公变房#1变压器 | 99.2819 | -0.078859 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
23 | Bus_清流16队鱼塘箱变_中压 | 99.2819 | -0.078859 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
24 | Bus_观龙20队公变 | 99.3257 | -0.067382 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
25 | Bus_石楼镇观龙岛路灯箱变_中压 | 99.2163 | -0.096094 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1

## xform2w
Index | ID | AnsiMaxMVA | AnsiMVA | AnsiPosXR | AnsiPosZ | AnsiZeroXoverR | AnsiZeroZ | Buried | VectorOrWinding | PrimConnectionButton | SecConnectionButton | PrimNeutralConn | SecNeutralConn | CenterTap | PrimPercentTap | SecPercentTap | PrimMaxPercentFixedTap | PrimMinPercentFixedTap | SecMaxPercentFixedTap | SecMinPercentFixedTap | PhaseShiftHL | PhaseShiftPS | PhaseShiftType | FromBus | ToBus | InService | InServiceState | PrimkV | SeckV | ZBaseMVA

## xform3w
Index | ID | InService | InServiceState | PrimaryBus | SecondaryBus | TeritiaryBus | PrimkV | SeckV | TerkV | PrimPercentTap | SecPercentTap | TerPercentTap | PrimkVA | SeckVA | TerkVA | PSPosZ | PSPosXoverR | PTPosZ | PTPosXoverR | STPosZ | STZeroXoverR

## util
Index | ID | OpVAng | OpVMag | OpMW | OpMvar | VoltagePercent0 | VoltagePercent1 | VoltagePercent2 | VoltagePercent3 | VoltagePercent4 | VoltagePercent5 | VoltagePercent6 | VoltagePercent7 | VoltagePercent8 | VoltagePercent9 | BalancedRadio | Bus | EarthingType | GroundingConnection | InService | InServiceState | kAsc1p | kAsc3p | KV | MaxQ | MinQ | Mvar | MW | NegR | NegX | OnePhase | OnePhaseXoverR | Phase | PhaseType | PosR | PosX | ThreePhase | ThreePhaseXoverR | TypeOfUtility | VoltageAngle | VoltageMagnitude | ZeroR | ZeroX | PdeStatus
1 | 草河F27 | 0 | 100 | 170.2197 | 105.686 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_草河F27 | 0 | 0 | true | As-Built | 40.8248 | 40.8248 | 10 | 0 | 0 | 0 | 0 | 10 | 10 | 707106.812 | 1 | 0 | 5 | 10 | 10 | 707106.812 | 1 | 0 | 0 | 100 | 10 | 10 | Swing
2 | 石楼F12 | 0 | 100 | 178.9797 | 110.8695 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_石楼F12 | 0 | 0 | true | As-Built | 40.8248 | 40.8248 | 10 | 0 | 0 | 0 | 0 | 10 | 10 | 707106.812 | 1 | 0 | 5 | 10 | 10 | 707106.812 | 1 | 0 | 0 | 100 | 10 | 10 | Swing

## syngen
Index | ID | Bus | CalcFromCapability | CompoundExc | CouplerRpm | CouplerWR2 | Damping | Efficency | Eqp | ExcWithstandLimit | ExcWithstandTime | GenerationCategory | GostScExciterType | IecExcitationType | Ikp | IncludePFMvarController | Inertia | InService | InServiceState | KV | LoadRpm | LoadWR2 | MachineType | MachineWR2 | MVA | MW | PG | PlotI2t | PlotShortTime | Poles | PowerFactor | PrimConnectionButton | PrimEarthingType | PrimGroundingType | PrimNeutralConn | RadioButtons | RatedLifeTime | RdcPercent | ReactivePower | RealPower | RPM | S100 | S120 | Sbreak | ScExciterType | ScGenType | TDoublePrimeD0 | TDoublePrimeQ0 | TPrimeD0 | TPrimeQ0 | TypeOfGenerator | VoltageAngle | VoltageMagnitude | X0 | X1 | X2 | Xd | XdDoublePrime | XdPrime | XOverR | XOverR0 | XOverR2 | Xq | XqDoublePrime | XqPrime | XTolerance | PdeStatus

## pvarray
Index | ID | Bus | BVmpp | BVmppTemp | AIscTemp | InverterIncluded | BVoc | BVocTemp | DCGrounded | DCGroundR | DeltaIrradiance | EarthingType | ExternalL | ExternalR | GenerationCategory | Impp | ImpUD | InService | InServiceState | InverterIncluded | Isc | IscUD | Issue | LibModified | MppTracker | NOCTemp | NumPanelParallel | NumPanelSeries | PhaseType | PVAPower | PVAPowerTol | RevCtrl | Revision | SCModel | ValidEquipmentCable | Vmpp | VmpUD | Voc | VocUD | OutServiceYear | ProfileSector | PVAMFR | PVAModel | PVANumCells | PVASize | PVAType | PVAVDC | SingleYearForecastOpt | UniformScalePQ | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | PVA1 | Bus_大刀沙水厂_中压 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
2 | PVA2 | Bus_大刀沙村2号直流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.3 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
3 | PVA3 | Bus_大刀沙村3号_交流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.02356 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
4 | PVA4 | Bus_大刀沙村5号_交流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.09183 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
5 | PVA5 | Bus_大刀沙村2号_交流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.03084 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
6 | PVA6 | Bus_大刀沙村1号_交流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.00732 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
7 | PVA7 | Bus_大刀沙村4号_交流 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.01748 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
8 | PVA8 | Bus_#4组团 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
9 | PVA9 | Bus_大刀沙村5号直流 | 0 | 0 | 0.0548 | 0 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAAyEEBAHtCk2qURIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 0 | 7.96 | 0 | 0 | 0 | 0 | 50.2 | 200 | 27 | 0 | 0.002 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200
10 | PVA10 | Bus_观龙大站公变房#1变压器 | 0 | 0 | 0.0548 | 1 | 0 | -0.3624 | 0 | 0 | 0.05 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAA8EEAgIdCVSCSRIQDAAAAAPBBZ+Z/Qt3OgkQgAwAAAADwQc3McEI3JWdEvAIAAAAA8EE0s2FCctxIRFgCAAAAAPBBmplSQkvKKkT0AQAAAADwQQCAQ0Lv9wxEkAEAAAAA8EFmZjRClOTeQywBAAAAAPBBzUwlQtGZpEPIAAAAAADwQTMzFkLwo1ZDZAAAAAAA8EGaGQdCTWPOQg | 7.3 | 0 | true | As-Built | 1 | 7.96 | 0 | 0 | 0 | 1 | 50.2 | 200 | 27 | 0 | 0.002 | 0 | 0 | 0 | 0 | 0 | 30.12 | 0 | 36.06 | 0 | 2045-01-01 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.003 | 200 | 0 | 0.00013697 | 43.8 | 0.003 | 10 | 0 | 200

## lumpedload
Index | ID | OpMW | OpMvar | OpMWStLd | OpMvarStLd | GroundingAmp | GroundingOhm | GroundingType | Bus | InService | InServiceState | KV | LRC | ModelType | MotorLoadPercent | MTLoadPercent | MVA | NeutralConn | PercentTotalLoad | PF | Phase | PhaseA_MVA | PhaseB_MVA | PhaseC_MVA | PhaseConnection | StaticLoadPercent | TdP | X | XdP | XOverR | XP | XPP | PdeStatus | BasekV | LoadType | OutServiceYear | PhaseA_Amp | PhaseA_PF | PhaseB_Amp | PhaseB_PF | PhaseC_Amp | PhaseC_PF | Priority | ProfileSector | SingleYearForecastOpt | Ta | UDBasekV | UniformScalePQ | WR | DataStream | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | 大刀沙水厂_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙水厂_交流 | TRUE | New | 0.4 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
2 | 大刀沙村3号_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙村3号_交流 | TRUE | New | 0.4 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
3 | 大刀沙村5号_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙村5号_交流 | TRUE | New | 0.4 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
4 | 大刀沙村2号_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙村2号_交流 | TRUE | New | 0.4 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
5 | 大刀沙村合作经济社_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙村合作经济社_交流 | TRUE | New | 0.4 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
6 | #2组团虚拟节点 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_#2组团虚拟节点 | TRUE | New | 0.4 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
7 | 大刀沙村4号_交流 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_大刀沙村4号_交流 | TRUE | New | 0.4 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
8 | 观龙村19队2号#1公变 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_观龙村19队2号#1公变 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
9 | 19队_中压 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_19队_中压 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
10 | 18队_中压 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_18队_中压 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
11 | 观龙村19队#1公变 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_观龙村19队#1公变 | TRUE | New | 10 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
12 | 观龙大站2A公变房 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_观龙大站2A公变房 | TRUE | New | 10 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
13 | 观龙大站公变房#1变压器 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_观龙大站公变房#1变压器 | TRUE | New | 10 |  |  |  | 100 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
14 | 清流16队鱼塘箱变_中压 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_清流16队鱼塘箱变_中压 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
15 | 观龙20队公变 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_观龙20队公变 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50
16 | 石楼镇观龙岛路灯箱变_中压 | 0 | 0 | 0 | 0 | 0 | 0 |  | Bus_石楼镇观龙岛路灯箱变_中压 | TRUE | New | 10 |  |  |  | 100 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0.2 | 150 | 23.0769 | 6.67 | 23.0769 | 15.3846 | Continuous | 0 | 0 | 2045-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.15 | 50 | 0.02 | 10 | 0 | 50

## capacitor
Index | ID | OpMW | OpMvar | InService | InServiceState | InterDF | Phase | PhaseConnection | PdeStatus | CurrentLowerBand | CurrentSwitchInValue | CurrentSwitchOutValue | CurrentUpperBand | StepsPerBank | TimeDelayType | VoltageCtrlUnit | VoltageLowerBand | VoltageSwitchInValue | VoltageSwitchOutValue | VoltageUpperBand | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## mgset
Index | ID | KV | MVA | X1 | Xdu | Xq | XqP | XqPP | Xqu | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## hvcb
Index | ID | FromElement | ToElement | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | PdeStatus | ReplaceTime | SpareAvail | SwitchTime
1 | 草河 F27 到大刀沙水厂_中压 | Bus_草河F27 | Bus_大刀沙水厂_中压
2 | #1 组团到大刀沙村合作经济社_中压 | Bus_#1组团 | Bus_大刀沙村合作经济社_中压
3 | 石楼 F12 到 19 队_中压 | Bus_石楼F12 | Bus_19队_中压
4 | #3 组团到10kV 清流村路灯箱变_中压 | Bus_10kV清流村路灯箱变_中压 | Bus_#3组团
5 | #3 组团到 #4 组团 | Bus_#3组团 | Bus_#4组团
6 | #4 组团到清流 16 队鱼塘箱变_中压 | Bus_#4组团 | Bus_清流16队鱼塘箱变_中压
7 | 观龙村19队1号到2号 | Bus_观龙村19队2号#1公变 | Bus_观龙村19队#1公变
8 | 观龙大站1到2A | Bus_观龙大站2A公变房 | Bus_观龙大站公变房#1变压器
9 | 观龙大站到观龙20队 | Bus_观龙大站公变房#1变压器 | Bus_观龙20队公变

## dcbus
Index | ID | InService | InServiceState | MaxLoadFactor | MinLoadFactor | NominalV | PhaseType | WireType | aCoefficient | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength
1 | Bus_大刀沙村5号直流 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Bus_大刀沙村3号直流 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Bus_大刀沙村2号直流 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Bus_#2组团虚拟节点 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Bus_联络虚拟节点 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dcimpedance
Index | ID | FromBus | IID | InService | InServiceState | RValue | LValue | ToBus | PhaseType | WireType | FailureRate | MomentaryRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength
1 | dcZ1 | Bus_大刀沙村5号直流 | 3222 | true | As-Built | 0.001715 | 0 | Bus_大刀沙村3号直流 | 0 | 1 | 0 | 80 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | dcZ2 | Bus_大刀沙村2号直流 | 3234 | true | As-Built | 0.001715 | 0 | Bus_大刀沙村5号直流 | 0 | 1 | 0 | 80 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dclumpload
Index | ID | DCV | InService | InServiceState | KFactor | KW | MTLoadPercent | Bus | StaticLoadPercent | PhaseType | ProfileSector | SingleYearForecastOpt | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UniformScalePQ
1 | 大刀沙村3号直流 |  | 1 | 1 |  | 100 |  | Bus_大刀沙村3号直流

## dcconverter
Index | ID | IMaxPercent | InputBus | InputPhaseType | InputTerminalType | InputV | InService | InServiceState | KW | OutputBus | OutputPhaseType | OutputTap | OutputTerminalType | OutputV | PercentEFF | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## dccb
Index | ID | FromBus | ToBus | FailureRate | MTTR | OutageRate | OutageTime | PdeStatus | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## inverter
Index | ID | OpAcKw | OpAcKvar | OpAcKv | OpAcAmp | OpDcKw | DckW | DcPercentEFF | DcPercentIMax | DcPhaseType | DcTerminalType | DcV | DcVMax | DcVMin | diDV | EarthingType | GenerationCategory | BusID | CZNetwork | IkPFMax | IkPFMin | IMin | InService | ParentName | InServiceState | KV | GenCat0ACkW | GenCat0kVar | ACOperationMode | KVA | KVAMax | KvarMax | KWMax | MaxPF | MinPF | MPPTControl | MPPTDCVMax | MPPTDCVMin | MPPTInitialDCV | MPPTNumSteps | MvarLimitsOpt | NegSeqCurrentInjection | NegSeqCurrentLimit | NegSeqDeadbandMin | NegSeqDiDV | PF | Phase | PhaseConnection | PowerFactorOpt | RegulatedVac | SmartInverterOpt | SP3Wire | SpareDF | StaticVarSupportPercentage | VAtIMax | VMaxOp | VMinOp | Vref | VShutOff | PdeStatus | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | userDefPoints
1 | Inv2 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 0 | IP8AAPP/AAAKAAAAAADIQgAAyEIAAAAAAADIQgAAAAAAAEhCAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_大刀沙村5号_交流 | Bus_大刀沙村5号直流 | 110 | 100 | 100 | false |  | As-Built | 10 | 100 | 50 | Smart Inverter Control | 0 | 300 | 0 | 0 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
2 | Inv1 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_大刀沙村3号_交流 | Bus_大刀沙村3号直流 | 110 | 100 | 100 | true |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 2700 | 2700 | 2700 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
3 | Inv3 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_大刀沙村2号_交流 | Bus_大刀沙村2号直流 | 110 | 100 | 100 | false |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
4 | Inv4 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_大刀沙村1号_交流 | Bus_#2组团虚拟节点 | 110 | 100 | 100 | true |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
5 | Inv5 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_大刀沙村4号_交流 | Bus_#2组团虚拟节点 | 110 | 100 | 100 | true |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
6 | Inv6 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_#2组团 | Bus_联络虚拟节点 | 110 | 100 | 100 | true |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>
7 | Inv7 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAlkMAAAAAAADIQgAAAAAAAJZDAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_石楼镇观龙岛路灯箱变_中压 | Bus_联络虚拟节点 | 110 | 100 | 100 | true |  | As-Built | 10 | 300 | 300 | Smart Inverter Control | 2700 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <userDefPoints><userDefPQPoints></userDefPQPoints><userDefPVPoints><userDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><userDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></userDefPVPoints><userDefQVPoints></userDefQVPoints></userDefPoints>

## charger
Index | ID | OpMW | OpMvar | DckW | DcLoadkW | DcPercentIMax | DcPhaseType | DcSmoothL | DcSmoothR | DcTapPercentage | DcTerminalType | DcV | DcVeq | DcVFloat | DcVFloatMax | DcVFloatMin | IAtZeroV | IMin | InService | InServiceState | Iop | Issue | KV | KVA | MVA | Bus | CZNetwork | MVASc | OperatingAlfa | PercentDF | PercentEFF | Phase | PhaseConnection | ScContribution | ScK | SP3Wire | SpareDF | SystemR | SystemX | SystemXOverR | UpdateZFromSc | VAtIMax | Xc | XfmrR | XfmrX | PdeStatus | ProfileSector | RectifierMaxV | SCMaxV | SCMfrModelID | SCParameter | SCSpeed | SCStandard | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## battery
Index | ID | BatteryType | DisChargeMethod | Eff | IchargeMax | IdischargeMax | InService | InServiceState | Bus | NrOfCells | NoOfPacks | NrOfStrings | IValue | OperatingSoC | OpGenBusGID | OpGenBusID | OpGenChargeBand | OpGenChargeMW | OpGenDisChargeBand | OpGenDisChargeMW | PhaseType | QValue | Rated | TerminalType | VbatMax | VbatMin | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | ModelID | ModelType
1 | Battery1 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_大刀沙村2号直流 | 20 | 20 | 20 | 0 | 100 | 2185560065 | 3220 | 0.001 | 1 | 0.001 | 0.1 | 0 | 110 | 3 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B
2 | Battery2 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_观龙20队公变 | 20 | 20 | 20 | 0 | 100 | 2185560065 | 3220 | 0.001 | 1 | 0.001 | 0.1 | 0 | 110 | 3 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B
3 | Battery3 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_观龙大站2A公变房 | 20 | 20 | 20 | 0 | 100 | 2185560065 | 3220 | 0.001 | 1 | 0.001 | 0.1 | 0 | 110 | 3 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B
4 | Battery4 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_观龙大站公变房#1变压器 | 20 | 20 | 20 | 0 | 100 | 2185560065 | 3220 | 0.001 | 1 | 0.001 | 0.1 | 0 | 110 | 3 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B
5 | Battery5 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_观龙村19队2号#1公变 | 20 | 20 | 20 | 0 | 100 | 2185560065 | 3220 | 0.001 | 1 | 0.001 | 0.1 | 0 | 110 | 3 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B

## indmotor
Index | ID | EFF100 | EFF50 | EFF75 | InService | InServiceState | KV | LRC | MotorType | MVA | MVAButton | NeutralConn | Phase | Poles | TdP | VMaxLimit | VMinLimit | X | X_R | X0 | X0OverR | X2 | X2OverR | XP | XPP | PF100 | PF50 | PF75 | PFlr | PFOver | Bus